# Control valve course

# Course Duration: 32 Hours ( 4 days)

Target Audience:

- Process Specialists and Engineers

- Instrumentation and Control Engineers

- Mechanical Engineers

Prerequisites:    Basic knowledge of process engineering and instrumentation.

Instructor:         Eng. R. Mahjoub, with more than 24 years of experience across various industries, particularly in oil and gas projects.

Syllabus:

Module 1 — Control Valve Fundamentals

- Control valve function and operating principles

- Gate, Globe, rotary and Diaphragm valves

- Application of different valves.

- Single-port and double-port designs

- Valve body, trim, stem, packing, bonnet, and seat

- Normally open, normally closed, and fail-safe positions

Module 2 — Flow Characteristics and Control Performance

- Inherent versus installed characteristics

- Linear, equal-percentage, and quick-opening trims

- Rangeability and turndown

- Valve authority and controllability

- Cavitation, flashing, noise, and vibration

- Effects of piping reducers and fittings

Module 3 — Process Data and Sizing Fundamentals

- Required process inputs and operating cases

- Liquid, gas, steam, and two-phase flow considerations

- Density, specific gravity, viscosity, molecular weight and compressibility

- Flow rate, inlet pressure, outlet pressure, temperature and pressure drop

- Unit conversions and dimensional consistency

- Minimum, normal, maximum and start-up cases

Module 4 — Control Valve Sizing Calculations

- Liquid sizing using \(C_v\) and \(K_v\)

- Gas and steam sizing

- Choked flow and critical pressure ratio

- Liquid pressure recovery and piping geometry factors

- Reynolds number and viscosity correction

- Required versus selected valve capacity

- Manual calculations versus software verification

Module 5 — Valve, Actuator and Accessory Selection

- Valve body size versus line size

- Body and trim materials, pressure class and end connections

- Pneumatic diaphragm and piston actuators

- Spring return, air failure and position failure

- Smart positioners, I/P converters, solenoid valves and limit switches

- Actuator thrust, torque and seating requirements

- Control valve versus ESD valve requirements

Module 6 — Advanced Applications and Standards

- Anti-cavitation and low-noise trim

- High-pressure-drop and severe-service applications

- Cryogenic, corrosive, erosive and high-temperature services

- Control valve noise prediction and mitigation

- IEC 60534 and ISA 75.01,… guidance

- Pressure-temperature ratings and applicable material standards

- Inspection, testing and documentation requirements

Module 7 — Sizing Software Workshop

- Create a valve sizing case

- Enter process conditions and fluid properties

- Run minimum, normal and maximum operating cases

- Review calculated capacity, opening, velocity and noise

- Select valve series, trim, actuator and accessories

- Generate and check sizing reports

- Investigate common sizing errors

Module 8 — EPC Project Deliverables and Capstone

- Control valve datasheets and specifications

- Valve sizing calculation sheets

- Technical bid evaluation (TBE)

- Vendor document review

- P&ID and instrument index coordination

- Final project: size, select, document and defend three valves